## Sheet2
CONTACT INFORMATION |  | Special instruction: example: Labels need to be UV rated, two mounting holes…etc
Company:
Email:
Phone:
Company Rep:
Job#
*All nameplates come with adhesive backing unless requested otherwise
*Use template below to group like labels. To switch label type, just copy and paste template start next grouping.
*Format cells to autofit column if more space is needed (double tap the line between colums on top of this form)
PLATE COLOR | TEXT COLOR | LABEL HEIGHT | LABEL WIDTH | ADHESIVE
RED | WHITE | 2" | 3" | YES
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE | LINE 5 TEXT SIZE
3/8" | 3/8" | 3/8" | 3/8" | 3/8"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT | LINE 5 TEXT

## Sheet3
CONTACT INFORMATION |  | Special instruction:1/8"- Rounded corners-ss gromet
Company: Mckendree's
Email:John@mckendreesplumbing.com
Phone:1(904)6629534
Company Rep:John Lakoskey
PO#14024
Use template below to group like labels. To switch label type, just copy and paste template start next grouping.
PLATE COLOR | TEXT COLOR | LABEL HEIGHT | LABEL WIDTH
GREEN | WHITE | 2-1/2" | 2-1/2"
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT
AFV-CS9-R2102-1 | HEATING HOT WATER | CS9-R2102 RHC | HWR AUTO FLOW VALVE
HCV-CS9-R2102-1 | HEATING HOT WATER | CS9-R2102 RHC | HWR CONTROL VALVE
S-CS9-R2102-1 | HEATING HOT WATER | CS9-K111 RHC | HWS STRAINER
V-CS9-R2102-1 | HEATING HOT WATER | V-CS9-R2102 OUTLET | ISOLATION
V-CS9-R2102-2 | HEATING HOT WATER | V-CS9-R2102 INLET | ISOLATION
V-CS9-R2102-3 | HEATING HOT WATER | CS9-R2102 STRAINER | BLOWDOWN
V-CS9-R2102-4 | HEATING HOT WATER | HEATING HOT WATER | HIGH POINT VENT
V-CS9-R2102-5 | HEATING HOT WATER | HEATING HOT WATER | LOW POINT VENT
CONTACT INFORMATION |  | Special instruction:1/8"- Rounded corners-ss gromet
Company: Mckendree's
Email:johnlokasky@mckendrees.com
Phone:1(904)6629534
Company Rep:John Lakoskey
PO#14025
Use template below to group like labels. To switch label type, just copy and paste template start next grouping.
PLATE COLOR | TEXT COLOR | LABEL HEIGHT | LABEL WIDTH
GREEN | WHITE | 2-1/2" | 2-1/2"
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT
AFV-SFTUH105-1 | HEATING HOT WATER | SFTUH 105 RHC | HWR AUTO FLOW VALVE
AFV-SFTUH108-1 | HEATING HOT WATER | SFTUH108 RHC | HWR AUTO FLOW VALVE
HCV-SFTUH105-1 | HEATING HOT WATER | SFTUH105 RHC | HWR CONTROL VALVE
HCV-SFUH105-1 | HEATING HOT WATER | SFTUH108 RHC | HWR CONTROL VALVE
HCV-1 | HEATING HOT WATER | VAV-5-1-002B RHC | HWR CONTROL VALVE
S-SFTUH105-1 | HEATING HOT WATER | SFTUH105 RHC | HWR CONTROL VALVE
S-SFTUH108-1 | HEATING HOT WATER | SFTYH108 RHC | HWS STRAINER
V-SFTUH105-1 | HEATING HOT WATER | V-FTU-5-1-002B OUTLET | ISOLATION
V-SFTUH105-2 | HEATING HOT WATER | V-FTU-5-1-002B INLET | ISOLATION
V-SFTUH105-3 | HEATING HOT WATER | FTU-5-1-002B STRAINER | BLOWDOWN
V-SFTUH105-4 | HEATING HOT WATER | HEATING HOT WATER | HIGH POINT VENT
V-SFTUH105-5 | HEATING HOT WATER | HEATING HOT WATER | LOW POINT DRAIN
V-SFTUH105-6 | HEATING HOT WATER | BLOW-DOWN STRAINER | VALVE
V-SFTUH108-1 | HEATING HOT WATER | V-FTU-5-1-002B OUTLET | ISOLATION
V-SFTUH108-2 | HEATING HOT WATER | V-FTU-5-1-002B INLET | ISOLATION
V-SFTUH108-3 | HEATING HOT WATER | FTU-5-1-002B STRAINER | BLOWDOWN
V-SFTUH108-4 | HEATING HOT WATER | HEATING HOT WATER | HIGH POINT VENT
V-SFTUH108-5 | HEATING HOT WATER | HEATING HOT WATER | LOW POINT DRAIN
V-SFTUH108-6 | HEATING HOT WATER | BLOW-DOWN STRAINER | VALVE

## Nameplates
YOUR COMPANY CONTACT INFORMATION |  |  |  | First Coast SL&E LLC.
Company: |  | #VALUE! |  | 904-672-8724
Email: |  |  |  | info@firstcoastsle.com
Phone: |  |  |  | www.firstcoastsle.com
Company Rep: |  |  |  | 13245 Atlantic Blvd STE4397
PO/JOB# |  |  |  | Jacksonville, FL 32225
NAMEPLATES
Copy order form for future use. You don't see an option, put it in SPECIAL INSTRUCTIONS, or fill it in on the table below. Use one form per
label type(color, size,etc.). You can copy and paste label headings down below or use different order form for different label type. All
labels will come with adhesive backing unless stated otherwise. Highligt options below.
SPECIAL INSTRUCTIONS
Rounded Corners | Mounting Option | Standard Size |  | Color
Yes | With adhesive | .75"H x 3.00"W | 4.00"H x 5.00"W | Blue with White Letters
No | Without adhesive | 1.00"H x 3.00"W | 4.00"H x 6.00"W | Green with White Letters
UV Rated | 1 hole no adhesive | 1.5"H x 3.00" W | 5.00"H x 6.00"W | Red with White Letters
Yes | 2 hole no adhesive | 2.00"H x 3.00" W | 6.00"H x 6.00"W | Black with White letters
No | 4 hole wno adhesive | 2.00"H x 4.00"W |  | Yellow with Black Letters
Label Thickness | 1 hole with adhesive | 2.50"H x 4.00"W |  | White with Black Letters
1/16" | 2 hole with adhesive | 3.00"H x 4.00" W |  | Orange with Black Letters
1/8" | 4 hole with adhesive | 3.00"H x 5.00"W |  | Orange with White Letters
PLATE COLOR | TEXT COLOR | LABEL HEIGHT | LABEL WIDTH
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE | LINE 5 TEXT SIZE | LINE 6 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT | LINE 5 TEXT | LINE 6 TEXT

## Square Tags
#VALUE!
YOUR COMPANY CONTACT INFORMATION |  | First Coast SL&E LLC.
Company: |  | 904-672-8724
Email: |  | info@firstcoastsle.com
Phone: |  | www.firstcoastsle.com
Company Rep: |  | 13245 Atlantic Blvd STE4397
PO/JOB# |  | Jacksonville, FL 32225
Copy order form for future use. You don't see an option, put it in SPECIAL INSTRUCTIONS, or fill it in on the table
below. Use one form per label type(color, size,etc.). You can copy and past label headings down below or use
additional order form for different label type. Highlight options below
SQUARE TAGS
SPECIAL INSTRUCTIONS
Rounded Corners | Standard Size | Color
Yes | 1.50"H x 1.50"W | Blue with White Letters
No | 1.75"H x 1.75"W | Green with White Letters
UV Rated | 2.00"H x 2.00"W | Red with White Letters
All Tags are UV rated | 2.25"H x 2.25"W | Black with White letters
| 2.50"H x 2.50"W | Yellow with Black Letters
Label Thickness | 3.00"H x 3.00"W | White with Black Letters
1/16" |  | Orange with Black Letters
1/8" |  | Orange with White Letters
PLATE COLOR | TEXT COLOR | LABEL SIZE | SIZE OF HOLE
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT

## Valve Tags
#VALUE!
YOUR COMPANY CONTACT INFORMATION |  | First Coast SL&E LLC.
Company: |  | 904-672-8724
Email: |  | info@firstcoastsle.com
Phone: |  | www.firstcoastsle.com
Company Rep: |  | 13245 Atlantic Blvd STE4397
PO/JOB# |  | Jacksonville, FL 32225
Copy order form for future use. You don't see an option, put it in SPECIAL INSTRUCTIONS, or fill it in on the
down below.Use one form per label type(color, size, etc..). You can copy and paste label headings down
headings down below or use additional order form for different label. Highlight options below.
VALVE TAGS

## Round Tags
#VALUE!
YOUR COMPANY CONTACT INFORMATION |  | First Coast SL&E LLC.
Company: |  | 904-672-8724
Email: |  | info@firstcoastsle.com
Phone: |  | www.firstcoastsle.com
Company Rep: |  | 13245 Atlantic Blvd STE4397
PO/JOB# |  | Jacksonville, FL 32225
Copy order form for future use. You don't see an option, put it in SPECIAL INSTRUCTIONS, or fill it in on the table
below. Use one form per label type(color, size,etc.). You can copy and paste label headings down below or use
additional order form for different label type. Highlight options below
ROUND TAGS
SPECIAL INSTRUCTIONS
Rounded Corners | Standard Size | Color
Yes | 1.25" DIAMETER | Blue with White Letters
No | 1.50" DIAMETER | Green with White Letters
UV Rated | 2.00" DIAMETER | Red with White Letters
All Tags are UV rated | 2.50" DIAMETER | Black with White letters
| 3.00" DIAMETER | Yellow with Black Letters
Label Thickness |  | White with Black Letters
1/16" |  | Orange with Black Letters
1/8" |  | Orange with White Letters
PLATE COLOR | TEXT COLOR | LABEL SIZE | SIZE OF HOLE
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT

## RECTANGLE TAGS
#VALUE!
YOUR COMPANY CONTACT INFORMATION |  | First Coast SL&E LLC.
Company: |  | 904-672-8724
Email: |  | info@firstcoastsle.com
Phone: |  | www.firstcoastsle.com
Company Rep: |  | 13245 Atlantic Blvd STE4397
PO/JOB# |  | Jacksonville, FL 32225
Copy order form for future use. You don't see an option, put it in SPECIAL INSTRUCTIONS, or fill it in on the table
below. Use one form per label type(color, size,etc.). You can copy and past label headings down below or use
additional order form for different label type. Highlight options below
RECTANGLE TAGS
SPECIAL INSTRUCTIONS
Rounded Corners | Standard Size | Color
Yes | 0.75" x 1.50" | Blue with White Letters
No | 0.75" x 2.00" | Green with White Letters
UV Rated | 1.00" x 2.50" | Red with White Letters
AllTags are UV rated | 1.00" x 3.00" | Black with White letters
Yellow with Black Letters
Label Thickness |  | White with Black Letters
1/16" |  | Orange with Black Letters
1/8" |  | Orange with White Letters
PLATE COLOR | TEXT COLOR | LABEL SIZE | SIZE OF HOLE
LINE 1 TEXT SIZE | LINE 2 TEXT SIZE: | LINE 3 TEXT SIZE | LINE 4 TEXT SIZE
1/4" | 5/16" | 5/16" | 5/16"
LINE 1 TEXT | LINE 2 TEXT | LINE 3 TEXT | LINE 4 TEXT